## Sheet1
Table 3: Phase 2 measured chemical contaminants per day and per tank. For DMSO controls with contamination B = bifenthrin, P = permethrin, C = cypermethrin, E = esfenvalerate. Each letter is preceeded by the concentration (ng/L) if above RL, if not, then just the letter is presented and concentration was at the minimum detection
|  | Chemical | Nominal | Tank 1 | Tank 2 | Tank 3 | Average | Max | Min
Run 1 | Day 1 | DMSO | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Day 2 |  |  | B | B | B
| Day 3 |  |  | 0 | 0 | 0
| Day 4 |  |  | 0 | 0 | 0
| Day 1 | Bifenthrin | 150 ng/L | 358.6019 | 370.1408 | 346.9806 | 311.6865 | 392.32 | 179.96
| Day 2 |  |  | 361.15 | 372.04 | 392.32
| Day 3 |  |  | 225.625 | 179.96 | 245.12
| Day 4 |  |  | 308.96 | 294.805 | 284.535
| Day 1 | Permethrin | 400 ng/L | 279.9417 | 295.3981 | 244.199 | 172.8915 | 295.3981 | 87.92
| Day 2 |  |  | NR | 148.08 | 122.83
| Day 3 |  |  | NR | 87.92 | 136.975
| Day 4 |  |  | NR | 118.305 | 122.375
| Day 1 | Cypermethrin | 200 ng/L | 278.6359 | 274.8835 | 266.7816 | 319.368 | 414.9 | 262.135
| Day 2 |  |  | 303.125 | 295.915 | 334.74
| Day 3 |  |  | 293.13 | 343.335 | 379.1
| Day 4 |  |  | 414.9 | 385.735 | 262.135
| Day 1 | Esfenvalerate | 150 mg/L | 58.068 | 61.4515 | 66.5583 | 50.1915 | 66.5583 | 28.915
| Day 2 |  |  | 42.03 | 44.35 | 43.03
| Day 3 |  |  | 28.915 | 35.05 | 40.55
| Day 4 |  |  | 52.49 | 63.95 | 65.855
Run 2 | Day 1 | DMSO | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Day 2 |  |  | 0 | 0 | 0
| Day 3 |  |  | 0 | 0 | 0
| Day 4 |  |  | 0 | 0 | 0
| Day 1 | Bifenthrin | 150 ng/L | 170.03 | 168.575 | 220.78 | 135.0392 | 220.78 | 48.925
| Day 2 |  |  | 75.37 | 69.285 | 48.925
| Day 3 |  |  | 148.265 | 129.14 | 112.01
| Day 4 |  |  | 195.83 | 146.205 | 136.055
| Day 1 | Permethrin | 400 ng/L | 242.045 | 259.265 | 236.165 | 212.66 | 259.265 | 138.545
| Day 2 |  |  | 138.545 | 141.76 | 171.825
| Day 3 |  |  | 218.89 | 208.19 | 249.46
| Day 4 |  |  | 200.16 | 258.23 | 227.385
| Day 1 | Cypermethrin | 200 ng/L | 82.395 | 108.36 | 109.4 | 162.7525 | 437.335 | 47.595
| Day 2 |  |  | 55.8 | 52.885 | 47.595
| Day 3 |  |  | 85.13 | 81.325 | 89.72
| Day 4 |  |  | 404.205 | 437.335 | 398.88
| Day 1 | Esfenvalerate | 150 mg/L | 40.74 | 54.51 | 46.675 | 40.5175 | 56.36 | 26.195
| Day 2 |  |  | 33.41 | 28.905 | 36.895
| Day 3 |  |  | 48.21 | 53.6 | 56.36
| Day 4 |  |  | 26.195 | 31.565 | 29.145
Run 3 | Day 1 | DMSO | 0 | P | 0 | 0 | 0 | 0 | 0
| Day 2 |  |  | P; C; E | P; C; E | P; 11.5 C; E
| Day 3 |  |  | 5.2 B; 12.3 P; 143 C | P; C | B; 5.4 P; 39.6 C;
| Day 4 |  |  | P, C; E | P; 9.3 E | P; C, E
| Day 1 | Bifenthrin | 150 ng/L | 275.005 | 237.35 | 277.915 | 213.5167 | 277.915 | 164.765
| Day 2 |  |  | 234.17 | 187.05 | 202.38
| Day 3 |  |  | 200.54 | 190.1 | 215.67
| Day 4 |  |  | 188.31 | 164.765 | 188.945
| Day 1 | Permethrin | 400 ng/L | 159.48 | 200.18 | 140.83 | 223.7183 | 401.94 | 140.83
| Day 2 |  |  | 367.87 | 401.94 | 394.04
| Day 3 |  |  | 183.375 | 167.485 | 179.5
| Day 4 |  |  | 155.285 | 155.59 | 179.045
| Day 1 | Cypermethrin | 200 ng/L | 250.04 | 278.825 | 243.035 | 302.2812 | 484.085 | 65.085
| Day 2 |  |  | 65.085 | 88.83 | 79.555
| Day 3 |  |  | 484.085 | 455.325 | 471.91
| Day 4 |  |  | 458.1 | 426.6 | 325.985
| Day 1 | Esfenvalerate | 150 mg/L | 101.93 | 97.95 | 116.02 | 68.3871 | 116.02 | 42.735
| Day 2 |  |  | 57 | 56.465 | 59.475
| Day 3 |  |  | 44.96 | 42.735 | 51.49
| Day 4 |  |  | 64.22 | 65.745 | 62.655