## ReadMe
The data presented in this datafile is a product of a journal publication, and explanation and discussion of this data is available in the following:
Wu, Y., Cox, S.S., Xu, Y., Liang, Y., Won, D., Liu, X., Clausen, P.A., Rosell, L., Benning, J.F., Zhang, Y. Little
A reference method for measuring emissions of SVOCs in small chambers, Building and Environment, 2016, 95, 126-132.
Additional Information (also see Data Dictionary):
1. All data were collected onsite at EPA's Research Triangle Park, North Carolina testing facility
2. Each worksheet tab represents data from a Table or Figure avialable in the above listed publication
3. This is an inter-laboratory study that 6 laboratories from 5 countries participated. The dataset will only cover the data EPA generated for the paper.
4. Data format
nnn | In calibration range
nnn | Estimated value above quantification limit (bold italics)
nnn | Estimated value below quantification limit (bold strikethrough)
nnn | Calculated value above QA criteria (red)

## Data Table (Figs 3d,4d )
Data Table for Figures 3d and 4d (Lab D)
|  | Elapsed Time (hr) | Sample Volume (L) | DEHP ng/Tube | DEHP Concentration (ng/m3 )
Sample ID | Description |  |  |  |  | Avg | STD | %RSD
VT 0049 | SVOC-VT-25C-DEHP-T2-BKG-EX1-A | -162.2036 | 15.6108 | 1.1839 | 75.8403 | 87.799 | 16.9122 | 19.2623
VT 0050 | SVOC-VT-25C-DEHP-T2-BKG-EX3-B | -162.2026 | 15.4573 | 1.542 | 99.7577
VT 0051 | SVOC-VT-25C-DEHP-T2-EX 1 3.2 HR | 3.1997 | 43.9348 | 41.7954 | 951.3044
VT 0052 | SVOC-VT-25C-DEHP-T2-EX 3 4.2 HR | 4.1921 | 58.4158 | 66.5995 | 1140.0931
VT 0053 | SVOC-VT-25C-DEHP-T2-EX 1 11.2 HR A | 11.1699 | 42.6345 | 51.4307 | 1206.3156 | 1099.7679 | 150.6813 | 13.7012
VT 0054 | SVOC-VT-25C-DEHP-T2-EX 3 11.2 HR B | 11.1706 | 42.4754 | 42.1874 | 993.2201
VT 0055 | SVOC-VT-25C-DEHP-T2-EX 1 20 HR Front A | 19.5078 | 73.6151 | 66.1769 | 898.9585 | 787.2538 | 157.9744 | 20.0665
VT 0056 | SVOC-VT-25C-DEHP-T2-EX 1 20 HR Back A | 19.5078 | 73.6151 | 9.1031 | 123.6578
VT 0057 | SVOC-VT-25C-DEHP-T2-EX 3 20 HR Front B | 19.5126 | 73.3939 | 49.5812 | 675.5491
VT 0058 | SVOC-VT-25C-DEHP-T2-EX 3 20 HR Back B | 19.5126 | 73.3939 | 2.239 | 30.5061
VT 0059 | SVOC-VT-25C-DEHP-T2-EX 1 28 HR A | 27.7231 | 42.7165 | 46.0674 | 1078.4454 | 1033.3443 | 63.7826 | 6.1724
VT 0060 | SVOC-VT-25C-DEHP-T2-EX 3 28 HR B | 27.7243 | 42.693 | 42.191 | 988.2432
VT 0062 | SVOC-VT-25C-DEHP-T2-EX 1 40 HR A | 40.0718 | 87.0678 | 128.1014 | 1471.283 | 1438.0991 | 46.9292 | 3.2633
VT 0063 | SVOC-VT-25C-DEHP-T2-EX 3 40 HR B | 40.0726 | 99.6632 | 140.0184 | 1404.9152
VT 0064 | SVOC-VT-25C-DEHP-T2-EX 1 53 HR A | 52.7362 | 47.8841 | 101.1356 | 2112.0906
VT 0065 | SVOC-VT-25C-DEHP-T2-EX 3 53 HR B | 52.7371 | 47.7553 | 59.0035 | 1235.5373
VT 0066 | SVOC-VT-25C-DEHP-T2-EX 1 65 HR Front A | 65.1275 | 92.0384 | 88.9481 | 966.4245 | 918.2666 | 68.1055 | 7.4167
VT 0067 | SVOC-VT-25C-DEHP-T2-EX 1 65 HR Back A | 65.1275 | 92.0384 | 4.2326 | 45.9877
VT 0068 | SVOC-VT-25C-DEHP-T2-EX 3 65 HR Front B | 65.1275 | 94.7736 | 82.4633 | 870.1088
VT 0069 | SVOC-VT-25C-DEHP-T2-EX 3 65 HR Back B | 65.1275 | 94.7736 | 2.0464 | 21.5921
VT 0073 | SVOC-VT-25C-DEHP-T2-EX 1 77 HR A. | 77.2996 | 43.852 | 47.556 | 1084.4661 | 1066.2555 | 25.7537 | 2.4153
VT 0074 | SVOC-VT-25C-DEHP-T2-EX 3 77 HR B | 77.3008 | 43.1672 | 45.2412 | 1048.0449
VT 0075 | SVOC-VT-25C-DEHP-T2-EX 1 100 HR | 99.82 | 44.0038 | 67.6004 | 1536.2391 | 1427.334 | 154.015 | 10.7904
VT 0076 | SVOC-VT-25C-DEHP-T2-EX 3 100 HR | 99.821 | 43.5598 | 57.4304 | 1318.4289
VT 0078 | SVOC-VT-25C-DEHP-T2-EX 1 124 HR | 123.9825 | 44.2171 | 43.4953 | 983.676 | 1117.256 | 188.9107 | 16.9085
VT 0079 | SVOC-VT-25C-DEHP-T2-EX 3 124 HR | 123.9832 | 44.1852 | 55.2685 | 1250.8361
VT 0080 | SVOC-VT-25C-DEHP-T2-EX 1 148 HR | 147.8682 | 43.87 | 43.1657 | 983.9463 | 1099.3448 | 163.1981 | 14.845
VT 0081 | SVOC-VT-25C-DEHP-T2-EX 3 148 HR | 147.8692 | 43.5901 | 52.9508 | 1214.7433

## Data Dictionary
Element | Description | Units (if applicable)
time, elapsed time | duration of the emission test in the chamber when the sample was collected | h
DEHP | di-2-ethylhexyl phthalate
BKG | background sample
EX | exhaust, outlet of the chamber
front, back | location of the Tenax tubes when two of them were connected in series to check the breakthrough
Avg | average concentration of duplicate samples
STD | standard deviation
%RSD | relative standard deviation in percentage